## Bill 1 – Substructure
Item Description | Unit | Quantity
Excavate topsoil to 150mm and remove to spoil | m²
Excavation in trenches for strip foundations | m³
Backfill to trenches with selected excavated material | m³
Hardcore (laterite) filling, compacted in 150mm layers | m³
Plain concrete (1:3:6) blinding layer 50mm thick | m²
Reinforced concrete (1:2:4) in strip/pad foundations | m³
Damp proof course — polythene membrane 300mm wide | m
BRC reinforcement mesh (A142) in ground floor slab | m²
9-inch hollow sandcrete blockwork below ground | m²
Mass concrete ground floor slab (150mm thick, 1:2:4) | m²

## Bill 2 – Superstructure
Item Description | Unit | Quantity
9-inch hollow sandcrete blockwork above DPC | m²
6-inch hollow sandcrete blockwork (partitions) | m²
Reinforced concrete column (1:1.5:3) incl. formwork | m³
Reinforced concrete ring beam / plinth beam | m³
Reinforced concrete lintel over openings | m³
Reinforced concrete suspended floor slab (150mm) | m³
High tensile deformed steel bars (Y12) in columns | kg
High tensile deformed steel bars (Y16) in beams/slabs | kg
Reinforced concrete staircase (per flight) | No.

## Bill 3 – Roofing & Ceiling
Item Description | Unit | Quantity
Long span aluminium roofing sheet (0.55mm), fixed | m²
Sawn hardwood rafter (50×100mm), pressure-treated | m
Sawn hardwood purlin (50×75mm), pressure-treated | m
PVC fascia board and barge board, fixed | m
PVC half-round rain water gutter and down pipe | m
POP (Plaster of Paris) suspended ceiling on steel frame | m²
PVC ceiling board on timber framework | m²
Roof ridge capping, fixed | m

## Bill 4 – Finishes
Item Description | Unit | Quantity
Cement/sand mortar rendering to internal walls (12mm) | m²
Cement/sand mortar rendering to external walls (15mm) | m²
Ceramic floor tiles (600×600mm) bedded in adhesive | m²
Ceramic wall tiles (300×600mm) bedded in adhesive | m²
Two coats emulsion paint on internal plastered walls | m²
Sandtex / weather coat paint on external walls | m²
uPVC door and frame (complete set, incl. ironmongery) | No.
Timber flush door and frame (complete) | No.
Steel security door and frame (complete set) | No.
Aluminium casement window and frame (incl. glazing) | No.
Aluminium sliding window and frame (incl. glazing) | No.

## Bill 5 – Mechanical & Electrical
Item Description | Unit | Quantity
Electrical wiring point in conduit (complete) | No.
Distribution board / consumer unit (12-way MCB) | No.
Earthing and lightning protection system | Item
Cold water plumbing point in uPVC pipes | No.
WC pan, cistern, seat, and fittings — complete set | No.
Wash hand basin and pedestal (complete set) | No.
Shower tray, enclosure, and fittings (complete) | No.
Polyethylene overhead water storage tank (1,000L) | No.
Soak-away pit (brick-lined, capped) | No.
Motorised borehole (50m depth, pump, casing) | Item

## Bill 6 – External Works
Item Description | Unit | Quantity
Imported sand filling to compound, compacted | m³
Reinforced concrete driveway / paved apron (100mm) | m²
Interlocking paving block walkway on compacted base | m²
Perimeter fence wall (9-inch blockwork, 1.8m high) | m
Metal entrance gate (twin leaf, 4m wide) incl. posts | No.
Surface water drainage channel (precast concrete) | m
Landscaping, topsoil, and grass seeding to compound | m²